## Start
Community Water-Energy Savings Calculator | [5 empty] | Results:
|  |  | Select your state: |  | If | 0% | of your community installed this device,
your community would annually save:
|  | I. | What water-saving device would you like to promote?
|  | II. | How many people live in your community? |  |  |  | #N/A | gallons of water
|  | III. | In kWh per million gallons, what is the energy intensity of your water supply? |  |  |  | #N/A | kWh of direct electricity*
If unsure, national average is 1,500 kWh/MG
[7 empty] | #N/A | kWh indirect electricity**
|  | IV. | In kWh per million gallons, what is the energy intensity of your wastewater treatment?
|  |  |  | If unsure, national average is 1,800 kWh/MG |  |  | #N/A | pounds of carbon dioxide emissions
[7 empty] | #N/A | off water bills
|  | V. | What percentage of your community do you expect to install the device?
|  |  | Try different values to compare potential savings |  |  |  | #N/A | off electricity bills
(i.e. if 5% of your community replaced their showerheads vs. 25% replacement.)
| Disclaimer: |  |  |  |  | *Refers to electricity used within the home for electric hot water heating
| River Network’s Water/Energy Calculators are interactive tools designed to help you figure out how much how much energy and carbon emissions are embedded in the water you use. Results received from this calculator are designed for indication purposes only. River Network does not guarantee the accuracy of any information derived from this tool, and is not responsible for any errors, omissions, or misrepresentations. |  |  |  |  | **Refers to electricity used to pump and treat water and wastewater
Please send any questions or comments to bgriffiths@rivernetwork.org
This tool was designed by Bevan Griffiths Sattenspiel

## Assumptions
Assumptions:
| 0.00265 | National average cost of tap water per gallon | [5 empty] | Traditional | Efficient | % hot water | hot water traditional | hot water inefficient
| 0.00307 | National average cost of wastewater treatment per gallon | [5 empty] | (gpcd) | (gpcd)
| 0.1024 | National average cost of electricity per kWh |  |  |  | Clothes Washer |  | 15 | 10 | 27.8% | 4.17 | 2.78
| 0.0143 | National average cost of natural gas per cf |  |  |  | Dishwasher |  | 1 | 0.7 | 100% | 1 | 0.7
| 1.34 | lbs CO2 per kWh |  |  |  | Faucet |  | 10.9 | 10.8 | 72.7% | 7.9243 | 7.8516
| 0.12 | lbs CO2 per cf natural gas |  |  |  | Showerhead |  | 11.6 | 8.8 | 73.1% | 8.4796 | 6.4328
| 0.2036 | kWh/gallon if heating water with electricity |  |  |  | Toilet |  | 18.5 | 8.2 | 0% | 21.5739 | 17.7644
| 1.0117 | cf/gallon if heating water with natural gas
| 0.0015 | kWh/gallon water delivered | [5 empty] | #N/A | #N/A | #N/A
| 0.0018 | kWh/ gallon of wastewater treated
| 73.1% | hot water for shower use | [5 empty] | Difference: | #N/A |  | Electric ater heating consumes 0.2036 kWh of electricity per gallon of water heated assuming:
| 7.9 minutes | average length of shower (pg. 61) | [9 empty] | Specific heat of water = 1.0 BTU/lb · º F
1 gallon of water = 8.34 lbs
1 kWh = 3,412 BTUs
| Table 5.6.B. Average Retail Price of Electricity by State, April 2008 From EIA Electric Power Monthly | [10 empty] | Incoming water temperature is raised from 55º F to 130º F (Δ 75 º F)
| State | Cents/kWh |  | State | lbs. CO2/kWh |  |  | 5% |  |  |  | Water heating process is 90 percent efficient, electric hot water heater
| Alabama | 0.097 | #N/A | Alabama | 1.2987 |  | #N/A | 10% |  |  |  |  | [(1 gal · 1.0 BTU/lbs · º F) (1KWh/3,412 BTUs) / (1 gallon/8.34 lbs) · 75º F] / 0.90 = 0.2036 kWh/gal
| Alaska | 0.172 |  | Alaska | 1.1065 |  |  | 15%
| Arizona | 0.1 |  | Arizona | 1.2189 |  |  | 20%
| Arkansas | 0.096 |  | Arkansas | 1.2803 |  |  | 25% |  |  | Natural gas water heating consumes 1.0117 cf of natural gas per 1 gallon of water heated assuming:
| California | 0.135 |  | California | 0.7004 |  |  | 30%
| Colorado | 0.101 |  | Colorado | 1.9861 |  |  | 35% |  |  |  | Specific heat of water = 1.0 BTU/lb · º F
| Connecticut | 0.194 |  | Connecticut | 0.75419 |  |  | 40% |  |  |  | 1 gallon of water = 8.34 lbs
| Delaware | 0.139 |  | Delaware | 1.8037 |  |  | 45% |  |  |  | 1 Therm = 99,976 BTUs
| District of Columbia | 0.111 |  | District of Columbia | 3.6143 |  |  | 50% |  |  |  | Incoming water temperature is raised from 55º F to 130º F (Δ 75 º F)
| Florida | 0.113 |  | Florida | 1.348 |  |  | 55% |  |  |  | Water heating process is 60 percent efficient, natural gas hot water heater
| Georgia | 0.095 |  | Georgia | 1.3883 |  |  | 60% |  |  |  |  | [(1 gal · 1.0 BTU/lbs · º F) (1Therm/99,976 BTUs) / (1 gallon/8.34 lbs) · 75º F] / 0.60 = 0.010428 Therms/gal
| Hawaii | 0.303 |  | Hawaii | 1.6547 |  |  | 65%
| Idaho | 0.067 |  | Idaho | 0.14394 |  |  | 70% |  |  |  |  | 0.010428 Therms/gal · 1,000 gal · 1Mcf/10.307 Therms = 1.0117 Mcf/kgal
| Illinois | 0.11 |  | Illinois | 1.1548 |  |  | 75% | [5 empty] | or
| Indiana | 0.091 |  | Indiana | 2.098 |  |  | 80% | [5 empty] | 1.0117cf/gal
| Iowa | 0.097 |  | Iowa | 1.9433 |  |  | 85%
| Kansas | 0.09 |  | Kansas | 1.8706 |  |  | 90%
| Kentucky | 0.077 |  | Kentucky | 2.0511 |  |  | 95%
| Louisiana | 0.1 |  | Louisiana | 1.2012 |  |  | 100%
| Maine | 0.164 |  | Maine | 0.77183
| Maryland | 0.1323 |  | Maryland | 1.293
| Massachusetts | 0.163 |  | Massachusetts | 1.2261
| Michigan | 0.104 |  | Michigan | 1.4127
| Minnesota | 0.092 |  | Minnesota | 1.5875
| Mississippi | 0.1 |  | Mississippi | 1.409
| Missouri | 0.076 |  | Missouri | 1.8814
| Montana | 0.089 |  | Montana | 1.5729
| Nebraska | 0.073 |  | Nebraska | 1.5031
| Nevada | 0.125 |  | Nevada | 1.5727
| New Hampshire | 0.152 |  | New Hampshire | 0.77927
| New Jersey | 0.14 |  | New Jersey | 0.71279
| New Mexico | 0.094 |  | New Mexico | 1.992
| New York | 0.179 |  | New York | 0.90716
| North Carolina | 0.096 |  | North Carolina | 1.2178
| North Dakota | 0.073 |  | North Dakota | 2.3863
| Ohio | 0.1 |  | Ohio | 1.779
| Oklahoma | 0.09 |  | Oklahoma | 1.726
| Oregon | 0.086 |  | Oregon | 0.45579
| Pennsylvania | 0.112 |  | Pennsylvania | 1.2162
| Rhode Island | 0.151 |  | Rhode Island | 1.071
| South Carolina | 0.098 |  | South Carolina | 0.91482
| South Dakota | 0.079 |  | South Dakota | 1.2154
| Tennessee | 0.088 |  | Tennessee | 1.266
| Texas | 0.124 |  | Texas | 1.4716
| Utah | 0.079 |  | Utah | 2.1208
| Vermont | 0.147 |  | Vermont | 0.006939
| Virginia | 0.089 |  | Virginia | 1.2105
| Washington | 0.075 |  | Washington | 0.35993
| West Virginia | 0.071 |  | West Virginia | 1.988
| Wisconsin | 0.114 |  | Wisconsin | 1.7129
| Wyoming | 0.079 |  | Wyoming | 2.2775
All data from U.S. EPA's eGRID Version 2.1
[1] See Technical notes for additional information on the Commercial, Industrial, and Transportation sectors.
NM = Not meaningful due to large relative standard error or excessive percentage change.
Notes: • See Glossary for definitions. • Values for 2007 and 2008 are preliminary estimates based on a cutoff model sample. See Technical Notes for a discussion of the sample design for the Form EIA-826. • Utilities and energy service providers may classify commercial and industrial customers based on either NAICS codes or demands or usage falling within specified limits by rate schedule. • Changes from year to year in consumer counts, sales and revenues, particularly involving the commercial and industrial consumer sectors, may result from respondent implementation of changes in the definitions of consumers, and reclassifications. • Retail sales and net generation may not correspond exactly for a particular month for a variety of reasons (i.e., sales data may include imported electricity). • Net generation is for the calendar month while retail sales and associated revenue accumulate from bills collected for periods of time (28 to 35 days) that vary dependent upon customer class and consumption occurring in and outside the calendar month. • Totals may not equal sum of components because of independent rounding.
Source: Energy Information Administration, Form EIA-826, "Monthly Electric Sales and Revenue Report with State Distributions Report."